## Sheet1
Classification	Observation Type	Priority	Suggested Frequency	Suggested Conditions & Justification	Suggested Scan Strategy	Total Exp. Time Req. (min.)	Purpose	Additional Comments	Overflow comments
Isolated Observations
	Blank Sky, elevation dependence	2	2 nights	Stable atmosphere → Night (RMS determination vs. elevation requires that sky noise is stable)	8’ x 5’; 8 subscans (scans of ~120 seconds; then with steps of 15 deg (10 to 80 deg.)?	60	Determine array noise (rms) dependence with elevation	Fbff can also be done; this analysis can come from other scans too*; Maybe this can be done during NIKA2 tests
	Small OTF	Required	10	All conditions	4’ x 3’, subscan steps of 5?	80	Determine main beam calibration dependencies (e.g. with elevation, opacity)	This may be a better option to control changes over different conditions…
	Beammaps	Required	At least 4?	Stable atmosphere	beammap99scans	120	Ensure detector positions; check main beam gains.	Try one beammap with <z> - 0.2, and another with <z> - 0.3; If weather changes over the run, more beammaps would be desired (to ensure proper calibration over the different conditions)	Perhaps we can observe Mars during the NIKA2 tests time. Even so, we foresee that it will be necessary to observe Uranus and/or Neptune during the night (therefore during Open Pool time). Mars should be 3.81” in diameter; Uranus is 3.7”; Neptune is 2.3”
Faint Point Sources	Faint source detection (2.8 mJy)	1	once	average opacity	OnTheFly (OTF) map	250	Validate new NEFDs, ability to find sources not at a known position	Old NEFD expected time: 90 minutes
	1.5 mJy	3	once	average opacity	OTF	850	Validate new NEFDs, ability to find sources not at a known position	Old NEFD expected time: 306
	0.5 mJy	-	once	average opacity	OTF	0	Too time expensive
	Pointing Session??	Required	once	Stable atmosphere	Pointings on 20+ sources	180	Necessary for each run	We anticipate that this is sufficiently accurate from the NIKA2 tests time

Recurring Observations (Calibration)	Consider the following as normal (standard) calibration scans		Conservative Estimate of Frequency
	Skydips		2-4 per day	All conditions	--	60	Determine C0, C1 coefficients	15
	Pointing		1 every [2] hour			90		60
	Z focus		1 every 2 [3] hours			120		48

	TOTAL					510	minutes
						8.5	hours

	Number of days on sky:		7