## Sheet1
Classification | Observation Type | Priority | Suggested Frequency | Suggested Conditions & Justification | Suggested Scan Strategy | Total Exp. Time Req. (min.) | Purpose | Additional Comments | Overflow comments
Isolated Observations
| Blank Sky, elevation dependence | 2 | 2 nights | Stable atmosphere → Night (RMS determination vs. elevation requires that sky noise is stable) | 8’ x 5’; 8 subscans (scans of ~120 seconds; then with steps of 15 deg (10 to 80 deg.)? | 60 | Determine array noise (rms) dependence with elevation | Fbff can also be done; this analysis can come from other scans too*; Maybe this can be done during NIKA2 tests
| Small OTF | Required | 10 | All conditions | 4’ x 3’, subscan steps of 5? | 80 | Determine main beam calibration dependencies (e.g. with elevation, opacity) | This may be a better option to control changes over different conditions…
| Beammaps | Required | At least 4? | Stable atmosphere | beammap99scans | 120 | Ensure detector positions; check main beam gains. | Try one beammap with <z> - 0.2, and another with <z> - 0.3; If weather changes over the run, more beammaps would be desired (to ensure proper calibration over the different conditions) | Perhaps we can observe Mars during the NIKA2 tests time. Even so, we foresee that it will be necessary to observe Uranus and/or Neptune during the night (therefore during Open Pool time). Mars should be 3.81” in diameter; Uranus is 3.7”; Neptune is 2.3”
Faint Point Sources | Faint source detection (2.8 mJy) | 1 | once | average opacity | OnTheFly (OTF) map | 250 | Validate new NEFDs, ability to find sources not at a known position | Old NEFD expected time: 90 minutes
| 1.5 mJy | 3 | once | average opacity | OTF | 850 | Validate new NEFDs, ability to find sources not at a known position | Old NEFD expected time: 306
| 0.5 mJy | - | once | average opacity | OTF | 0 | Too time expensive
| Pointing Session?? | Required | once | Stable atmosphere | Pointings on 20+ sources | 180 | Necessary for each run | We anticipate that this is sufficiently accurate from the NIKA2 tests time
Recurring Observations (Calibration) | Consider the following as normal (standard) calibration scans |  | Conservative Estimate of Frequency
| Skydips |  | 2-4 per day | All conditions | -- | 60 | Determine C0, C1 coefficients | 15
| Pointing |  | 1 every [2] hour |  |  | 90 |  | 60
| Z focus |  | 1 every 2 [3] hours |  |  | 120 |  | 48
| TOTAL |  |  |  |  | 510 | minutes
[6 empty] | 8.5 | hours
| Number of days on sky: |  | 7