## Sheet1
Flux table of the calibraiton sources observed with NIKA in 2010 and 2011
The fluxes are deduced from fit to PdB observations dones around the NIKA runs.
The errors are the standard deviation of these fits (errors on individual PdB measures are much lower)
as a qualitative appreciation of the fits, the numbers and dates of PdB measurements fitted are also displayed
- NIKA dates (a = morning, b = afternoon, c = evening)
[5 empty] | 140 | 220 | GHz
source | Date NIKA obs | Fo (GHz) | Ao (Jy) | p | Flux (Jy) | Flux (Jy) | error (Jy) | # PdB measures | Dates PdB obs | comments | For info: flux formula given on PdB SOG page (do not use, reference dates of the fit not clear)
0106+013 | 2011/10/18a | 113 | 1.8 | -0.4 | 1.6522 | 1.3789 | 0.3 | 18 | 2010/08 - 2011/10 |  | 0.67(freq/100.0)^-0.16
0113-118 | 2011/10/18c | 89 | 1.2 | -0.9 | 0.79821 | 0.53144 | 0.3 | 5 | 2008/11 - 2010/07 | be cautious: PdB stat very low and old | 0.78(freq/100.0)^-0.91
0221+067 | 2011/10/19a;20a | 103 | 0.8 | -0.8 | 0.62583 | 0.43593 | 0.2 | 8 | 2009/07 - 2010/08 | PdB a bit old (2010 vs 2011, and fainter before 2009) | 0.37(freq/100.0)^ 0.75
0316+413 | 2011/10/18a | 0 | 0 | 0 |  |  | n/a | 0 | n/a | no measures in PdB database | 2.98(freq/100.0)^ 0.13
0355+508 | 2011/10/18a | 167 | 2.2 | -1 | 2.6243 | 1.67 | 0.3 | 11 | 2011/04 - 2011/11 | source flux decreased along the year (by ~0.5 Jy) | 4.76(freq/100.0)^-0.73
0420-014 | 2011/10/18a,23a;19a;20a;21a;22a | 115 | 3.3 | -0.4 | 3.0503 | 2.5458 | 0.4 | 13 | 2011/01 - 2011/09 |  | 7.11(freq/100.0)^-0.16
0529+075 | 2011/10/19a | 0 | 0 | 0 |  |  | n/a | 0 | n/a | only 3 measures in 2009 | 1.30(freq/100.0)^-0.43
0716+714 | 2011/10/18a;20a;23a | 146 | 2.8 | -0.5 | 2.8594 | 2.281 | 0.8 | 10 | 2010/03 - 2011/09 | PdB stat low w.r.t relativelly big std dev | 2.01(freq/100.0)^ 0.24
0727-115 | 2011/10/18a | 114 | 3 | -0.8 | 2.5453 | 1.773 | 0.5 | 6 | 2008/08 - 2010/08 | attention oldmeasrures quite old and low stat | 1.82(freq/100.0)^-0.53
0923+392 | 2010/10/22a | 213 | 2.6 | -0.7 | 3.4878 | 2.5418 | 0.6 | 84 | 2010/09 - 2010/12 |  | 4.28(freq/100.0)^-0.58
0954+658 | 2010/10/18a - 2011/10/19a | 239 | 1 | 0 | 1 | 1 | 0.2 | 30 | 2010/02 - 2011/10 | ~ cst over years and spect, but few pics +-0.4 | 1.14(freq/100.0)^-0.13
1039+811 | 2010/10/18a | 0 | 0 | 0 |  |  | n/a | 0 | n/a | only 1 measure in PdB database | 0.42(freq/100.0)^ 0.04
1749+096 | 2010/10/18b | 145 | 3.7 | -0.2 | 3.7261 | 3.404 | 0.9 | 32 | 2010/09 - 2010/11 | significant yearly fluctuations (Ao ~ 1.4 in 2011/10) | 3.58(freq/100.0)^ 0.01
1800+440 | 2010/10/20b | 230 | 1 | 0 | 1 | 1 | n/a | 0 | 2007 | PdB data certainly too old and too few | 0.71(freq/100.0)^ 0.75
1830-211 | 2010/10/21b | 92 | 2 | 0 | 2 | 2 | 1 | 5 | 2010 | PdB stat too low and seems to fluctuate | 0.00(freq/100.0)^ 2.42
1928+738 | 2011/10/18a | 218 | 1.5 | -0.5 | 1.8718 | 1.4932 | 0.8 | 9 | 2010/08 - 2011/11 |  | 1.42(freq/100.0)^-0.35
2200+420 | 2011/10/18a | 145 | 7 | 0 | 7 | 7 | 3 | 7 | 2011/07 - 2011/11 | ~ 4Jy during 2010/2011, but 4Jy in Aug, 9Jy in Nov | 3.27(freq/100.0)^ 0.04
3C111 | 2011/10/18a | 0 | 0 | 0 |  |  | n/a | 0 | n/a | no measures in PdB database | 3.03(freq/100.0)^-0.82
3C273 | 2010/10/18a;22a;24b | 230 | 5.5 | -0.8 | 8.1817 | 5.6991 | 2 | 45 | 2010/08 - 2010/12 |  | 15.58(freq/100.0)^-0.26
3C345 | 2010/10/20b | 230 | 3.6 | 0 | 3.6 | 3.6 | 1 | 52 | 2010/08 - 2010/12 |  | 4.40(freq/100.0)^-0.47
3C454.3 | 2010/10/19c;20c;22b;23b,23c | 243 | 35 | 0 | 35 | 35 | 8 | 190 | 2010/08 - 2010/12 | significant pic fluctuation + slow flux oscillation | 13.25(freq/100.0)^-0.04
3C454.3 | 2011/10/18a;18c;19c;21c;23a | 156 | 5 | -0.5 | 5.278 | 4.2104 | 1 | 188 | 2011/08 - 2011/12 | strong decrease between 2010 and 2011 ! | 13.25(freq/100.0)^-0.04
3C84 | 2010/10/18a;24c | 230 | 6.9 | -0.5 | 8.844 | 7.0551 | 1.2 | 90 | 2010/08 - 2010/12 | flat in 2010 | 6.09(freq/100.0)^-0.36
3C84 | 2011/10/18a;21a;22a;23a | 160 | 10 | -0.4 | 10.5486 | 8.804 | 1.8 | 126 | 2011/08 - 2011/12 | rising in 2011 | 6.09(freq/100.0)^-0.36
MWC349 | 2010/10/18b;19b;20c;23c | 243 | 2.2 | 0.7 | 1.4955 | 2.0521 | 0.3 | 200 | 2010/08 - 2010/12 | Best calibrator: stable, lot of stat | 1.11(freq/100.0)^ 0.79
MWC349 | 2011/10/17c;20c;22c | 160 | 1.6 | 0.7 | 1.4572 | 1.9995 | 0.3 | 164 | 2011/08 - 2011/12 | Best calibrator: stable, lot of stat | 1.11(freq/100.0)^ 0.80
W3OH | 2011/10/18a;20c,21a;23a | 0 | 0 | 0 |  |  | n/a | 0 | n/a | no measures in PdB database | 0.00(freq/100.0)^ 3.24
MARS | 2010/10/18b;20b;21b;22b;24b | [9 empty] | 13.24(freq/100.0)^ 0.35
MARS | 2011/10/18a;19a;20a;21a;22a;23a | [9 empty] | 13.24(freq/100.0)^ 0.36
NEPTUNE | 2010/10/19c | [9 empty] | 3.72(freq/100.0)^ 0.78
NEPTUNE | 2011/10/17c;19a | [9 empty] | 3.72(freq/100.0)^ 0.79
URANUS | 2010/10/19b;20c;23b;24b | [9 empty] | 2.86(freq/100.0)^ 1.69
URANUS | 2011/10/17c,18a;18c;19c;20c;21c;22c;23c | [9 empty] | 2.86(freq/100.0)^ 1.70