## Sheet1
Flux table of the calibraiton sources observed with NIKA in 2010 and 2011 with PdB reference
- The fluxes below are deduced from observation data using a rudimentary opacity correction
- The FWHM are gicen in arcsec
- The determination of the coefficients used in the PdB formulas are obtained by minimisation of the standard deviation (~= err PdB column) to measurements done in 2011 at various wavelengths between 80 and 250 GHz
(power coeff: fit crietria = constant err(frequency), amplitude coeff: fit criteria = lowest std dev in particular in October 2011 when possible, note that PdB individual measurments have err much < than the fit std dev)
[8 empty] | 140 | GHz |  |  | 220 | GHz
Date | Source | Scan | Reduction_date | FWHMAaz | FWHMAel | FWHMBaz | FWHMBel | FluxA (Jy) | PdB | ErrFluxA | PdB | FluxB (Jy) | PdB | ErrFluxB | PdB | Comments
20111018 | Uranus | 333 |  | 20.0692 | 19.8059 | 19.3707 | 16.9172 | 20.1429 |  | 0 |  | 53.2517 |  | 0 |  | Forced Calibration with Uranus
20111018 | Neptune | 335 | [5 empty] | 9.548 |  | 0.0945 |  | 17.0547 |  | 0.208 |  | Problem with photometry but internal gain is much better than last year.
20111018 | Uranus | 22 | 17-Nov-2011 18:23:00.00 | 18.1514 | 19.1783 | 16.0641 | 17.3334 | 20.1429 |  | 0 |  | 53.2516 |  | 0 |  | Focus -2.4
20111018 | Uranus | 23 | 18-Nov-2011 09:40:16.00 | 21.588 | 18.4891 | 25.2585 | 17.7431 | 18.1056 |  | 0.5437 |  | 31.7647 |  | 1.6082 |  | Focus -3.4
20111018 | Uranus | 24 | 18-Nov-2011 09:50:47.00 | 20.0494 | 26.9664 | 19.9163 | 20.6034 | 13.334 |  | 0.4512 |  | 25.355 |  | 1.3348 |  | Focus -1.4
20111018 | Uranus | 25 | 18-Nov-2011 10:03:35.00 | 18.4291 | 20.4902 | 17.646 | 18.6476 | 21.6017 |  | 0.952 |  | 41.5628 |  | 2.6382 |  | Focus -2.4
20111018 | MWC349 | 337 | 16-Nov-2011 17:07:40.00 | 18.2679 | 18.5526 | 17.8946 | 7.3965 | 1.4826 | 1.4572 | 0.0355 | 0.2 | 1.665 | 1.9995 | 0.0468 | 0.2 | OTF pointing on MWC349 -- Source with most statistics from PdB --
20111018 | MWC349 | 338 | 17-Nov-2011 09:57:03.00 | 17.3125 | 15.8018 | 24.8033 | 5.2392 | 1.3947 |  | 0.0581 |  | 1.7023 |  | 0.1655 |  | Flux a bit underestimated but not bad
20111018 | 3C454.3 | 2 | 16-Nov-2011 11:45:18.00 | 17.2335 | 16.7478 | 15.8929 | 13.67 | 3.9145 | 4.3858 | 0.1778 | 0.5 | 2.7403 | 3.6604 | 0.0892 | 0.5 | -- Lots of statistics from PdB measurments --
20111018 | 3C454.3 | 3 | 16-Nov-2011 14:01:41.00 | 17.1159 | 16.8887 | 14.3944 | 11.4453 | 3.6381 |  | 0.142 |  | 2.5316 |  | 0.1327
20111018 | 2200+420 | 5 | 17-Nov-2011 12:36:18.00 | 17.3601 | 17.0685 | 15.1121 | 13.9869 | 6.1693 | 6.9902 | 0.3967 | 1 | 5.0652 | 7.1177 | 0.1918 | 1 | -- PdB measurments show a strong increase between August and November 2011 (4 -> 9), relatively flat spectrum --
20111018 | W3(OH) | 7 | 17-Nov-2011 13:06:00.00 | 18.862 | 17.4813 | 19.7813 | 15.5841 | 3.905 |  | 0.2123 |  | 7.1244 |  | 0.2346
20111018 | W3(OH) | 20 | 17-Nov-2011 17:50:45.00 | 18.8195 | 18.0662 | 19.0453 | 15.9545 | 4.0018 |  | 0.0979 |  | 6.2531 |  | 0.4748 |  | This source could be slightly extended. TBC. Good photometric agreement between two scans separated by 1h30
20111018 | 3C84 | 9 | 17-Nov-2011 14:17:51.00 |  |  |  |  | 7.9297 | 11.5417 | 0.267 | 1.5 | 6.1791 | 9.8085 | 0.2482 | 1.5 | Taken off center at the source position -- Lots of statistics from PdB, apparent low point between Otcober 17 & 23: 10.5 @ 146 GHz --
20111018 | 3C84 | 10 | 17-Nov-2011 15:06:26.00 |  |  |  |  | 7.1867 |  | 0.3176 |  | 5.8915 |  | 0.25 |  | off too but maps more centered
20111018 | 3C84 | 42 | 19-Nov-2011 13:58:14.00 |  |  |  |  | 8.5531 |  | 0.3764 |  | 6.1752 |  | 0.5303 |  | Later
20111018 | 3C84 | 43 | 19-Nov-2011 14:02:51.00 |  |  |  |  | 6.6796 |  | 2.0611 |  | 6.1752 |  | 0.1961
20111018 | 3C84 | 44 | 19-Nov-2011 14:20:13.00 | 14.2796 | 17.3286 | 12.7018 | 13.4324 | 9.4367 |  | 0.2703 |  | 6.3282 |  | 0.4708 |  | best final correctly pointed at . More or less 9.4 and 6.3 Jy
20111018 | 0355+508 | 12 | 17-Nov-2011 16:05:05.00 | 17.2594 | 16.5705 | 16.5509 | 9.4444 | 1.9619 | 2.5333 | 0.0895 | 0.6 | 1.2404 | 1.7646 | 0.0652 | 0.6 | -- PdB measurments show a strong decrease between September and November, errPbB is x2 --
20111018 | 0355+508 | 38 | 19-Nov-2011 10:20:59.00 | 16.9555 | 16.0324 | 21.2355 | 6.3616 | 1.951 |  | 0.0547 |  | 1.1308 |  | 0.1969 |  | Another scan later Good consistency of flux
20111018 | 0716+714 | 14 | 17-Nov-2011 16:32:26.00 | 17.0035 | 16.2401 | 21.8718 | 4.3881 | 2.075 | 3.038 | 0.0856 | 0.8 | 1.673 | 2.6528 | 0.1266 | 0.8 | -- PdB show high variability between April and September (+/- ~1 Jy) --
20111018 | 0716+714 | 36 |  | 17.4334 | 14.3545 | 22.816 | 5.8569 | 2.181 |  | 0.0923 |  | 2.1677 |  | 0.4198 |  | Remarkable consistency at 2mm (2.1 Jy). a bit less at 1mm
20111018 | OJ287 | 16 | 17-Nov-2011 16:52:04.00 | 16.8414 | 19.3674 | 13.5213 | 13.34 | 7.1565 |  | 0.2771 |  | 2.13 |  | 0.1287 |  | Is extended at 2mm????
20111018 | 1928+738 | 18 | 17-Nov-2011 17:26:36.00 | 16.5442 | 15.5665 | 24.6104 | 3.1431 | 1.8204 | 1.8718 | 0.0556 | 0.8 | 0.7198 | 1.4932 | 0.1937 | 0.8 | Source is difficult to use for pointing at 1mm. OK at 2mm -- Not many PdB measurements --
20111018 | 0727-115 | 31 | [5 empty] | 1.2971 | 2.2559 | 0.0667 | 0.8 | 0.4511 | 1.7996 | 0.2285 | 0.8 | Can use this source for pointing at 2mm but using the total map of all detectors -- PdB most recent is Aug 2010 --
20111018 | 3C111 | 40 | 19-Nov-2011 11:44:21.00 | 17.2871 | 15.9206 | 29.7147 | 5.4929 | 2.2774 |  | 0.0722 |  | 1.7662 |  | 0.3279
20111018 | 0420-014 | 46 | 19-Nov-2011 14:53:53.00 | 17.6018 | 16.8759 | 24.2037 | 20.5096 | 3.5727 | 3.2688 | 0.1227 | 0.5 | 1.8109 | 2.9863 | 0.4298 | 0.5
20111018 | Mars | 55 |  | 21.2644 | 20.002 | 21.3349 | 18.4602 | 75.6146 |  | 0 |  | 201.1064 |  | 0 |  | Primary calibration scan
20111018 | IRC10216 | 63 | [5 empty] | 0.6873 |  | 0.0234 |  | 1.0468 |  | 0.1477
20111018 | IRC10216 | 64 | [5 empty] | 0.612 |  | 0.0322 |  | 1.0053 |  | 0.1566
20111018 | IRC10216 | 65 | [5 empty] | 0.5826 |  | 0.0126 |  | 1.5071 |  | 0.1038